## LoIN - s1
Komponento pavadinimas pagal NSIK klasifikatorių | Klasifikatoriai |  |  |  |  | Pavadinimas | Elemento aprašymas | Modeliuojamų elementų pavyzdžiai | IFC tipas | Pastabos | Pateikiama informacija | [7 empty] | PROJEKTO DALIS
| Funkcinės sistemos kodas - ClassificationSystem.NSIK LF arba „NSIK LF“ klasifikatorius | Techninės sistemos kodas - ClassificationSystem.NSIK LT arba „NSIK LT“ klasifikatorius | Komponento kodas - ClassificationSystemNSIK LK arba „NSIK LK“ klasifikatorius | Erdvės kodas - ClassificationSystem.NSIK B arba „NSIK B“ klasifikatorius | Statinio kodas - ClassificationSystem.NSIK E arba „NSIK E“ klasifikatorius | [5 empty] | Esama situacija LOD, LoG | Atributas arba Savybių rinkinys.Pavadinimas | Atributo ar savybės aprašymas | IFC duomenų tipas | Duomenų tipas | Vertės pavyzdžiai | Leidžiamos reikšmės | Pastabos
ŠT: Šilumos ar šalčio gamyba ir tiekimas | [10 empty] | 275
Smūginė apsauga | H | HD | FNB |  |  | Tinklo mechaninė apsauga | Komponentas, kurio pagrindinė funkcija – apsaugoti nuo smūginės jėgos, ją sugerti, slopinti. | Apsauginis gaubtas, apsauginis sluoksnis, apsauginė plokštė, atmuštas, durų atmušas, kabelių apsauga, kabelių kanalas, kabelių lovys, kampų apsauga, parkavimo atmušas, ratų atmušas | IfcFlowSegment, IfcFlowSegmentType, IfcFlowSegmentTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.IsExternal | Indication whether the element is designed for use in the exterior (TRUE) or not (FALSE). If (TRUE) it is an external element and faces the outside of the building. |  | Boolean
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | Pset_QuantityTakeOff.Length | Gaminio ilgis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 1600; 1.6 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
Skysčio srauto ribotuvas | H | HD | RNA |  |  | Sklendė | Inžinerinis įrenginys, ribojantis skysčio srautą. | skysčio srauto reguliatorius, Balansinis ventilis, Sklendė, Ventilis | IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.IsExternal | Indication whether the element is designed for use in the exterior (TRUE) or not (FALSE). If (TRUE) it is an external element and faces the outside of the building. |  | Boolean
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Izoliacija | H | HD | RQA |  |  | Šildymo sistemos izoliacija | Vietinį klimatą stabilizuojantis komponentas ribojant šilumos ar garso perdavimą. | Antikondensacinė izoliacija, apšiltinimas, garso izoliacija, plytų mūro izoliacinis sluoksnis, termoizoliacija, šiluminė izoliacija | IcfCovering |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.IsExternal | Indication whether the element is designed for use in the exterior (TRUE) or not (FALSE). If (TRUE) it is an external element and faces the outside of the building. |  | Boolean
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Thickness | The geometric thickness of the object. |  | Real
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
Vamzdis | H | HD | WPA |  |  | Vamzdis | Apskritos arba kampuotos standaus skerspjūvio formos komponentas, uždaroje aplinkoje nukreipiantis skysčio arba kitų medžiagų srautą. | Lankas, vamzdynas, pralaidos vamzdis | IfcPipeSegment, IfcPipeSegmentType |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | Pset_QuantityTakeOff.Length | Gaminio ilgis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 1600; 1.6 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | VVK.Colour | Dažomo elemento arba jo išorinės ar vidinės pusės spalva, nurodant spalvyną ir spalvos pavadinimą, jei žinomas | IfcLabel | String | RAL 9003 'Signal white'; NCS S-1005-Y |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Finish | Pagrindinė elemento apdaila | IfcLabel | String | Dažomas milteliniu būdu; Glaistomas, dažomas; Impregnuojamas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
Bakas | H | HD | CMA |  |  | Skysčio talpa | Uždaras stacionarus kaupimo komponentas skysčiams laikyti. | Bakas, baseinas, indas, rezervuaras, talpykla | IfcFlowTerminal, IfcFlowTerminalType, IfcFlowTerminalTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | Pset_QuantityTakeOff.Height | Characteristic height |  | Real
[12 empty] | Pset_QuantityTakeOff.Length | Gaminio ilgis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 1600; 1.6 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | Pset_QuantityTakeOff.Volume | Gaminio tūris, m³, 3 dešimtainiai skaitmenys | IfcVolumeMeasure | Real | 80.5; 0.006
[12 empty] | Pset_QuantityTakeOff.Width | Gaminio plotis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 120; 0.8 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Šilumos akumuliavimo skysčiuose talpykla | H | HD | CPA |  |  | Akumuliacinė talpa | Talpa, pripildyta skysčiu, kuriam suteikta šiluminė energija vėliau gali būti perduodama kitiems objektams. | Akumuliacinė talpa, Šilumos akumuliavimo skysčiuose talpykla, akumuliacinė šiluminė talpa | IfcTank, IfcTankType, IfcTankTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | Pset_QuantityTakeOff.Height | Characteristic height |  | Real
[12 empty] | Pset_QuantityTakeOff.Length | Gaminio ilgis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 1600; 1.6 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | Pset_QuantityTakeOff.Volume | Gaminio tūris, m³, 3 dešimtainiai skaitmenys | IfcVolumeMeasure | Real | 80.5; 0.006
[12 empty] | Pset_QuantityTakeOff.Width | Gaminio plotis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 120; 0.8 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Šilumokaitis | H | HD | EGC |  |  | Šilumokaitis | Šildymo ir (arba) vėsinimo prietaisas, perduodantis šilumnešio ir (arba) šaltnešio energiją kitam objektui laidumu. | Kaitinimo plokštė, plokštelinis šilumokaitis, šaldoma plokštė, šaldomas stalas, šildomas gultas | IfcHeatExchanger, IfcHeatExchangerType, IfcHeatExchangerTypeEnum, IfcTank, IfcTankType, IfcTankTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
Pset_ElementComponentCommon.PowerConsumption
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | Pset_QuantityTakeOff.Height | Characteristic height |  | Real
[12 empty] | Pset_QuantityTakeOff.Length | Gaminio ilgis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 1600; 1.6 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | Pset_QuantityTakeOff.Volume | Gaminio tūris, m³, 3 dešimtainiai skaitmenys | IfcVolumeMeasure | Real | 80.5; 0.006
[12 empty] | Pset_QuantityTakeOff.Width | Gaminio plotis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 120; 0.8 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Skysčio uždarymo komponentas | H | HD | QMA |  |  | Vandens tiekimo sistemos atbulinis vožtuvas | Sandarių skysčio sistemų srauto perjungimo komponentas. | sklendė, rutulinis ventilis, skysčio srauto uždoris, By-pass ventilis, uždarymo vožtuvas, rutulinis čiaupas, ventilis, Sklendė, uždoris, Ventilis, uždarymo ventilis | IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.IsExternal | Indication whether the element is designed for use in the exterior (TRUE) or not (FALSE). If (TRUE) it is an external element and faces the outside of the building. |  | Boolean
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Išardoma jungtis | H | HD | XMA |  |  | Išardoma vamzdžių jungtis | Išardoma vamzdyno jungtis, sujungianti uždarą srautą. | Atvamzdis, flanšas, flanšinė jungtis, laistymo jungtis, mova, perėjimas, prasilenkimo ketrušakis, redukcija, srieginė jungtis, užveržiama jungtis | IfcPipeFitting, IfcPipeFittingType |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
Neišardoma jungtis | H | HD | XMB |  |  | Neišardoma vamzdžių jungtis | Neišardoma vamzdyno jungtis, sujungianti uždarą srautą. | Atvamzdis, fitingas, klijuojama jungtis, perėjimas, presuojama jungtis, redukcija, užlituojama jungtis, užlydoma jungtis, užspaudžiama jungtis | IfcPipeFitting, IfcPipeFittingType |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
Kompresorinė šaldymo mašina | H | HD | ECC |  |  | Kompresorinė šaldymo mašina | Elektrinio vėsinimo komponentas, dirbantis fazių (medžiagos agregatinių būsenų) keitimo principu. | Kompresorinė šaldymo mašina, Čileris, Šaldytuvas | IfcHeatExchanger, IfcHeatExchangerType, IfcHeatExchangerTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElectricalDeviceCommon.HasProtectiveEarth | Indicates whether the object has a protective earth connection (=TRUE) or not (= FALSE). |  | Boolean
[12 empty] | Pset_ElectricalDeviceCommon.IK_Code | IK Code according to IEC 62262 (2002) is a numeric classification for the degree of protection provided by enclosures for electrical equipment against external mechanical impacts. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.IP_Code | IP Code, the International Protection Marking, IEC 60529), classifies and rates the degree of protection provided against intrusion. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.InsulationStandardClass | Insulation standard classes provides basic protection information against electric shock. Defines levels of insulation required in terms of constructional requirements (creepage and clearance distances) and electrical requirements (compliance with electric strength tests). Basic insulation is considered to be shorted under single fault conditions. The actual values required depend on the working voltage to which the insulation is subjected, as well as other factors. Also indicates whether the electrical device has a protective earth connection. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.NominalFrequencyRange | The upper and lower limits of frequency for which the operation of the device is certified. |  | Real
[12 empty] | Pset_ElectricalDeviceCommon.NominalPowerConsumption | Elektrinio prietaiso ar įrenginio projektinė elektrinė galia, W. | IfcPowerMeasure | Real | 80; 18 |  | Prietaiso ar įrenginio elektrinė galia. Kito tipo energijos galia (šiluminė, mechaninė ir pan.) nurodoma atitinkamoje savybėje.
[12 empty] | Pset_ElectricalDeviceCommon.RatedVoltage | The range of allowed voltage that a device is certified to handle. The upper bound of this value is the maximum. |  | Real
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
Pset_ElementComponentCommon.PowerConsumption
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Height | Characteristic height |  | Real
[12 empty] | Pset_QuantityTakeOff.Length | Gaminio ilgis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 1600; 1.6 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | Pset_QuantityTakeOff.Volume | Gaminio tūris, m³, 3 dešimtainiai skaitmenys | IfcVolumeMeasure | Real | 80.5; 0.006
[12 empty] | Pset_QuantityTakeOff.Width | Gaminio plotis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 120; 0.8 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | VVK.Colour | Dažomo elemento arba jo išorinės ar vidinės pusės spalva, nurodant spalvyną ir spalvos pavadinimą, jei žinomas | IfcLabel | String | RAL 9003 'Signal white'; NCS S-1005-Y |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Finish | Pagrindinė elemento apdaila | IfcLabel | String | Dažomas milteliniu būdu; Glaistomas, dažomas; Impregnuojamas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Šildymo ir (arba) vėsinimo paviršius | H | HD | EPA |  |  | Šildymo paviršius | Šildymo ir (arba) vėsinimo įrenginys, perduodantis energiją šilumai laidžiu paviršiumi. | Kaitinimo plokštė, kondensatorius, radiatorius | IfcHeatExchanger, IfcHeatExchangerType, IfcHeatExchangerTypeEnum, IfcTank, IfcTankType, IfcTankTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
Šilumos siurblys | H | HD | EGA |  |  | Šilumos siurblys | Šiluminės energijos transformavimo įrenginys galintis gaminti šilumą ir (arba) vėsą, dirbantis Karno / garo kompresijos ciklo / absorbcijos principais. | Absorbcinis šilumos siurblys, absorbcinis dujinis šilumos siurblys | IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElectricalDeviceCommon.HasProtectiveEarth | Indicates whether the object has a protective earth connection (=TRUE) or not (= FALSE). |  | Boolean
[12 empty] | Pset_ElectricalDeviceCommon.IK_Code | IK Code according to IEC 62262 (2002) is a numeric classification for the degree of protection provided by enclosures for electrical equipment against external mechanical impacts. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.IP_Code | IP Code, the International Protection Marking, IEC 60529), classifies and rates the degree of protection provided against intrusion. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.InsulationStandardClass | Insulation standard classes provides basic protection information against electric shock. Defines levels of insulation required in terms of constructional requirements (creepage and clearance distances) and electrical requirements (compliance with electric strength tests). Basic insulation is considered to be shorted under single fault conditions. The actual values required depend on the working voltage to which the insulation is subjected, as well as other factors. Also indicates whether the electrical device has a protective earth connection. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.NominalFrequencyRange | The upper and lower limits of frequency for which the operation of the device is certified. |  | Real
[12 empty] | Pset_ElectricalDeviceCommon.NominalPowerConsumption | Elektrinio prietaiso ar įrenginio projektinė elektrinė galia, W. | IfcPowerMeasure | Real | 80; 18 |  | Prietaiso ar įrenginio elektrinė galia. Kito tipo energijos galia (šiluminė, mechaninė ir pan.) nurodoma atitinkamoje savybėje.
[12 empty] | Pset_ElectricalDeviceCommon.RatedVoltage | The range of allowed voltage that a device is certified to handle. The upper bound of this value is the maximum. |  | Real
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
Pset_ElementComponentCommon.PowerConsumption
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Height | Characteristic height |  | Real
[12 empty] | Pset_QuantityTakeOff.Length | Gaminio ilgis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 1600; 1.6 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | Pset_QuantityTakeOff.Volume | Gaminio tūris, m³, 3 dešimtainiai skaitmenys | IfcVolumeMeasure | Real | 80.5; 0.006
[12 empty] | Pset_QuantityTakeOff.Width | Gaminio plotis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 120; 0.8 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | VVK.Colour | Dažomo elemento arba jo išorinės ar vidinės pusės spalva, nurodant spalvyną ir spalvos pavadinimą, jei žinomas | IfcLabel | String | RAL 9003 'Signal white'; NCS S-1005-Y |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Finish | Pagrindinė elemento apdaila | IfcLabel | String | Dažomas milteliniu būdu; Glaistomas, dažomas; Impregnuojamas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Teigiamo darbinio tūrio siurblys | H | HD | GPA |  |  | Šildymo sistemos sistemos teigiamo slėgio siurblys | Skysčio srautą sukuriantis komponentas, perkeliantis įtrauktą skystį į išleidimo angą. | Peristaltinis siurblys, rotacinis siurblys, sraigtinis siurblys, stūmoklinis siurblys, vakuuminis siurblys | IfcDistributionControlElement, IfcDistributionControlElementType, IfcDistributionControlElementTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElectricalDeviceCommon.HasProtectiveEarth | Indicates whether the object has a protective earth connection (=TRUE) or not (= FALSE). |  | Boolean
[12 empty] | Pset_ElectricalDeviceCommon.IK_Code | IK Code according to IEC 62262 (2002) is a numeric classification for the degree of protection provided by enclosures for electrical equipment against external mechanical impacts. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.IP_Code | IP Code, the International Protection Marking, IEC 60529), classifies and rates the degree of protection provided against intrusion. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.InsulationStandardClass | Insulation standard classes provides basic protection information against electric shock. Defines levels of insulation required in terms of constructional requirements (creepage and clearance distances) and electrical requirements (compliance with electric strength tests). Basic insulation is considered to be shorted under single fault conditions. The actual values required depend on the working voltage to which the insulation is subjected, as well as other factors. Also indicates whether the electrical device has a protective earth connection. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.NominalFrequencyRange | The upper and lower limits of frequency for which the operation of the device is certified. |  | Real
[12 empty] | Pset_ElectricalDeviceCommon.NominalPowerConsumption | Elektrinio prietaiso ar įrenginio projektinė elektrinė galia, W. | IfcPowerMeasure | Real | 80; 18 |  | Prietaiso ar įrenginio elektrinė galia. Kito tipo energijos galia (šiluminė, mechaninė ir pan.) nurodoma atitinkamoje savybėje.
[12 empty] | Pset_ElectricalDeviceCommon.RatedVoltage | The range of allowed voltage that a device is certified to handle. The upper bound of this value is the maximum. |  | Real
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Rotacinis siurblys | H | HD | GPB |  |  | Siurblys | Skysčio srautą sukuriantis komponentas, mechaniškai suteikiantis skysčiui greitį. | turbinos sparnuotė, vakuuminis siurblys, išcentrinis siurblys, cirkuliacinis siurblys, Rotacinis siurblys, Slėgio kėlimo siurblys, radialinis siurblys, Ašinis siurblys | IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElectricalDeviceCommon.HasProtectiveEarth | Indicates whether the object has a protective earth connection (=TRUE) or not (= FALSE). |  | Boolean
[12 empty] | Pset_ElectricalDeviceCommon.IK_Code | IK Code according to IEC 62262 (2002) is a numeric classification for the degree of protection provided by enclosures for electrical equipment against external mechanical impacts. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.IP_Code | IP Code, the International Protection Marking, IEC 60529), classifies and rates the degree of protection provided against intrusion. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.InsulationStandardClass | Insulation standard classes provides basic protection information against electric shock. Defines levels of insulation required in terms of constructional requirements (creepage and clearance distances) and electrical requirements (compliance with electric strength tests). Basic insulation is considered to be shorted under single fault conditions. The actual values required depend on the working voltage to which the insulation is subjected, as well as other factors. Also indicates whether the electrical device has a protective earth connection. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.NominalFrequencyRange | The upper and lower limits of frequency for which the operation of the device is certified. |  | Real
[12 empty] | Pset_ElectricalDeviceCommon.NominalPowerConsumption | Elektrinio prietaiso ar įrenginio projektinė elektrinė galia, W. | IfcPowerMeasure | Real | 80; 18 |  | Prietaiso ar įrenginio elektrinė galia. Kito tipo energijos galia (šiluminė, mechaninė ir pan.) nurodoma atitinkamoje savybėje.
[12 empty] | Pset_ElectricalDeviceCommon.RatedVoltage | The range of allowed voltage that a device is certified to handle. The upper bound of this value is the maximum. |  | Real
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
| H | HD | %GPB1010 |  |  | Cirkuliacinis siurblys |  |  | IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElectricalDeviceCommon.HasProtectiveEarth | Indicates whether the object has a protective earth connection (=TRUE) or not (= FALSE). |  | Boolean
[12 empty] | Pset_ElectricalDeviceCommon.IK_Code | IK Code according to IEC 62262 (2002) is a numeric classification for the degree of protection provided by enclosures for electrical equipment against external mechanical impacts. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.IP_Code | IP Code, the International Protection Marking, IEC 60529), classifies and rates the degree of protection provided against intrusion. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.InsulationStandardClass | Insulation standard classes provides basic protection information against electric shock. Defines levels of insulation required in terms of constructional requirements (creepage and clearance distances) and electrical requirements (compliance with electric strength tests). Basic insulation is considered to be shorted under single fault conditions. The actual values required depend on the working voltage to which the insulation is subjected, as well as other factors. Also indicates whether the electrical device has a protective earth connection. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.NominalFrequencyRange | The upper and lower limits of frequency for which the operation of the device is certified. |  | Real
[12 empty] | Pset_ElectricalDeviceCommon.NominalPowerConsumption | Elektrinio prietaiso ar įrenginio projektinė elektrinė galia, W. | IfcPowerMeasure | Real | 80; 18 |  | Prietaiso ar įrenginio elektrinė galia. Kito tipo energijos galia (šiluminė, mechaninė ir pan.) nurodoma atitinkamoje savybėje.
[12 empty] | Pset_ElectricalDeviceCommon.RatedVoltage | The range of allowed voltage that a device is certified to handle. The upper bound of this value is the maximum. |  | Real
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Apsauginis vožtuvas | H | HD | FLA |  |  | Apsauginis vožtuvas | Apsauginis komponentas, išleidžiantis skystį ar garą, kai slėgis viršija nustatytą reikšmę. | Apsauginis vožtuvas, katilo apsaugos įrenginys, slėgio vožtuvas | IfcValve, IfcValveType, IfcValveTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
Atskirtuvas | H | HD | HQB |  |  | Filtras | Mechaninio atskyrimo komponentas, atskiriantis daleles atsižvelgiant į jų dydį ar formą. | Filtras (šildymui, maišas, maišelinio tipo filtras, nuorintojas, nuorintuvas, oro išleidėjas, vandentiekiui), vėdinimui, sietas |  |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
Išsiplėtimo indas | H | HD | FLE |  |  | Išsiplėtimo indas | Apsauginis komponentas, apsaugantis nuo tūrinio išsiplėtimo. | Hidroforas, išsiplėtimo indas, momentinio slėgio slopintuvas, impulsinė talpa | IfcTank, IfcTankType, IfcTankTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | Pset_QuantityTakeOff.Height | Characteristic height |  | Real
[12 empty] | Pset_QuantityTakeOff.Length | Gaminio ilgis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 1600; 1.6 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | Pset_QuantityTakeOff.Volume | Gaminio tūris, m³, 3 dešimtainiai skaitmenys | IfcVolumeMeasure | Real | 80.5; 0.006
[12 empty] | Pset_QuantityTakeOff.Width | Gaminio plotis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 120; 0.8 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Šulinys | H | HD | XMC |  |  | Šulinys | Uždara kamera, skirta srauto jungtims ar kitoms svarbioms vietoms po žeme. | Apžiūros šulinys, inspektavimo šulinys, kamera, komunikacijų šulinys, perkritimo šulinys, valymo šulinys |  |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.IsExternal | Indication whether the element is designed for use in the exterior (TRUE) or not (FALSE). If (TRUE) it is an external element and faces the outside of the building. |  | Boolean
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | Pset_QuantityTakeOff.Length | Gaminio ilgis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 1600; 1.6 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
| H | HD | %CPA2010 |  |  | Akumuliacinė talpa su elektriniu šildymo elementu |  |  | IfcTank, IfcTankType, IfcTankTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElectricalDeviceCommon.HasProtectiveEarth | Indicates whether the object has a protective earth connection (=TRUE) or not (= FALSE). |  | Boolean
[12 empty] | Pset_ElectricalDeviceCommon.IK_Code | IK Code according to IEC 62262 (2002) is a numeric classification for the degree of protection provided by enclosures for electrical equipment against external mechanical impacts. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.IP_Code | IP Code, the International Protection Marking, IEC 60529), classifies and rates the degree of protection provided against intrusion. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.InsulationStandardClass | Insulation standard classes provides basic protection information against electric shock. Defines levels of insulation required in terms of constructional requirements (creepage and clearance distances) and electrical requirements (compliance with electric strength tests). Basic insulation is considered to be shorted under single fault conditions. The actual values required depend on the working voltage to which the insulation is subjected, as well as other factors. Also indicates whether the electrical device has a protective earth connection. |  | String
[12 empty] | Pset_ElectricalDeviceCommon.NominalFrequencyRange | The upper and lower limits of frequency for which the operation of the device is certified. |  | Real
[12 empty] | Pset_ElectricalDeviceCommon.NominalPowerConsumption | Elektrinio prietaiso ar įrenginio projektinė elektrinė galia, W. | IfcPowerMeasure | Real | 80; 18 |  | Prietaiso ar įrenginio elektrinė galia. Kito tipo energijos galia (šiluminė, mechaninė ir pan.) nurodoma atitinkamoje savybėje.
[12 empty] | Pset_ElectricalDeviceCommon.RatedVoltage | The range of allowed voltage that a device is certified to handle. The upper bound of this value is the maximum. |  | Real
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | Pset_QuantityTakeOff.Height | Characteristic height |  | Real
[12 empty] | Pset_QuantityTakeOff.Length | Gaminio ilgis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 1600; 1.6 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | Pset_QuantityTakeOff.Volume | Gaminio tūris, m³, 3 dešimtainiai skaitmenys | IfcVolumeMeasure | Real | 80.5; 0.006
[12 empty] | Pset_QuantityTakeOff.Width | Gaminio plotis, mm (0 dešimtainių skaitmenų) arba m (3 dešimtainiai skaitmenys) | IfcLengthMeasure | Real | 120; 0.8 |  | Žr. IFC ilgio, pločio ir aukščio apibrėžimus
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Sklendė | H | HD | %QMA10 |  |  | Sklendė | Fluido srauto uždarymo vožtuvas. | Rutulinis ventilis, rutulinis čiaupas, sklendė, uždoris, ventilis | IfcValve, IfcValveType, IfcValveTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
Oro atskirtuvas | H | HD | %HQB40 |  |  | Oro atskirtuvas | Dujų (oro) atskyrimo iš skysčių komponentas. | Degazatorius, nuorintojas, nuorintuvas | IfcValve, IfcValveType, IfcValveTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
Automatinis skysčio srauto reguliatorius | H | HD | %RNA20 |  |  | Balansinis ventilis | Inžinerinis įrenginys, automatiniu būdu reguliuojantis skysčio srautą. |  | IfcValve, IfcValveType, IfcValveTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
| H | HD | %RNA2010 |  |  | Balansavimo ventilis su matavimo antgaliais |  |  | IfcValve, IfcValveType, IfcValveTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Temperatūros keitiklis | H | HD | BTA |  |  | Termometras | Temperatūros jutimo komponentas su skaliariniu išėjimu. | Temperatūros daviklis, temperatūros jutiklis, termometras | IfcFlowMeter, IfcFlowMeterType, IfcFlowMeterTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Vandens skaitiklis | H | HD | %BHA20 |  |  | Vandens skaitiklis | Švaraus vandens srauto apskaitos komponentas. | Karšto vandens skaitiklis, vandens apskaitos prietaisas, šalto vandens skaitiklis, kombinuotas skaitiklis | IfcFlowMeter, IfcFlowMeterType, IfcFlowMeterTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Šiluminės energijos skaitiklis | H | HD | BHB |  |  | Šiluminės energijos skaitiklis | Energijos jutimo komponentas, skirtas atitinkamam šiluminės talpos šilumos srautui matuoti. | Energijos jutiklis, energijos skaitiklis, vėsos skaitiklis, šilumos skaitiklis | IfcFlowMeter, IfcFlowMeterType, IfcFlowMeterTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Elektros energijos skaitiklis | H | HD | BHC |  |  | Elektros skaitiklis | Energijos jutimo komponentas elektros energijos srautui matuoti. | Elektros skaitiklis, kWh jutiklis | IfcFlowMeter, IfcFlowMeterType, IfcFlowMeterTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
Absoliučiojo slėgio keitiklis | H | HD | BPA |  |  | Manometras | Vieno sensoriaus absoliučiojo slėgio jutimo komponentas su skaliariniu išėjimu. | Absoliučiojo slėgio daviklis, Slėgio indikatorius, slėgio jutiklis, slėgio keitiklis, slėgio matavimo įrenginys, manometras, absoliučiojo slėgio jutiklis | IfcFlowMeter, IfcFlowMeterType, IfcFlowMeterTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
| H | HD | BPP |  |  | Slėgio relė |  | Slėgio jungiklis | IfcFlowMeter, IfcFlowMeterType, IfcFlowMeterTypeEnum, IfcFlowController, IfcFlowControllerType, IfcFlowControllerTypeEnum |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ConstructionAdministration.SpecificationSectionNumber | Techninės specifikacijos numeris, nurodant projekto dalies žymenį | IfcLabel | String | SA-TS-1.1; SA-TS-C.BA.%CDD1042; T-TS 2.3
[12 empty] | Pset_ElementCommon.System | The building service system that requires the provision for voids, e.g. 'Air Conditioning', 'Plumbing', 'Electro', etc. |  | String
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String
[12 empty] | Pset_QuantityTakeOff.Diameter | Gaminio diametras |  | Real | 600; 0.6 |  | Jei taikomas
[12 empty] | VVK.ElementType | The type denotes a particular type that indicates the object further. The use has to be established at the level of instantiable subtypes. In particular it holds the user defined type, if the enumeration of the attribute 'PredefinedType' is set to [[USERDEFINED]]. |  | String
[12 empty] | VVK.Material | Pagrindinė elemento medžiaga | IfcLabel | String | Guma; Konstrukcinis plienas; Nerūdijantis plienas; Plastikas; Betonas |  | Pildoma, jei tokia savybė aktuali
[12 empty] | VVK.Name | Optional name for use by the participating software systems or users. For some subtypes of [[IfcRoot]] the insertion of the [[Name]] attribute may be required. This would be enforced by a where rule. |  | String
[12 empty] | VVK.Tag | The tag (or label) identifier at the particular instance of a product, e.g. the serial number, or the position number. It is the identifier at the occurrence level. |  | String
| H | HD |  | %DCB1000 |  | Elemento aptarnavimo erdvė |  |  |  |  | LoG 2 | [7 empty] | ŠT
[12 empty] | Pset_ElementComponentCommon.Status | Elemento būsena | IfcLabel | String | Projektuojamas | Esamas; Ardomas; Remontuojamas; Rekonstruojamas; Projektuojamas
[12 empty] | Pset_ManufacturerTypeInformation.ArticleNumber | Article number or reference that is be applied to a configured product according to a standard scheme for article number definition as defined by the manufacturer. It is often used as the purchasing number. |  | String
[12 empty] | Pset_ManufacturerTypeInformation.Manufacturer | The organization that manufactured and/or assembled the item. |  | String